## Overview
Field | Description | Example
Site / Project ID | Unique reference | LAX-DRY-001
Region / Country |  | North America / U.S.
Fleet Segment | Regional haul / Long haul / Drayage | Drayage
Number of Trucks | Count | 10
Truck OEM(s) | OEM list | Volvo
Charging Type | Depot AC / Depot DC / En-route DC | Depot DC 350 kW
Data Period |  | 01/11/25 – 31/01/26
Telematics Source |  | OEM / Platform API | Live feed
Charging Data Source |  | CPO (ABB) / Charging Mgmt. Platform | Partial
Data Quality Owner |  | Fleet Ops / Product Mgr. | Offline
Status Indicator |  | Live feed
Regional haul
Long haul
Drayage

## Vehicle Ops.
Truck ID | VIN | OEM | GVWR (t) | Battery Size (kWh) | Start Odo (km) | End Odo (km) | Distance (km) | Energy Used (kWh) | Energy Intensity (kWh/km) | Avg Payload (t) | Source
EV001 | … | Volvo | 40 | 550 | 101220 | 103650 | 2430 | 3240 | 1.3333 | 18 | Telematics
EV002 | … | Freightliner | 40 | 450 | 85700 | 87960 | 2260 | 3080 | 1.3628 | 20 | Telematics

## Charging session
Session ID | Truck ID | Date | Start Time | End Time | Energy Delivered (kWh) | Duration (h) | Avg Power (kW) | Charger ID | Charger Type | Location | Session Result | Source
CH001 | EV001 | 2025-11-01 | 21:15 | 0:05 | 320 | 2.8 | 114 | DC350-01 | DC 350 kW | Depot A | Success | CPO API
CH002 | EV002 | 2025-11-01 | 22:00 | 1:00 | 290 | 3 | 97 | DC350-02 | DC 350 kW | Depot A | Success | Platform API
Charger Utilisation (%) |  | 24.17%
Average Charging rate |  | 105.1724

## Fleet energy and Grid
Metric | Source | Value | Unit | Period | Comment
Grid connection limit | Facilities | 700 | kW | Constant | LV 400 V
Average base load | Energy monitor | 500 | kW | Continuous | HVAC, lighting, MHE
EV load (avg daily) | Charger logs | 1600 | kWh | Daily | ~10 trucks
EV load (peak) | Charger logs | 580 | kW | Peak hour
Renewable share | Utility contract | 75 | % | Monthly | RE supply mix
Emissions factor (grid) | Region | 0.33 | kg CO₂/kWh |  | From EPA/SFC dataset
EV Energy share | 76.19%
CO2 emissions (kg CO2e) | 528
Renewable adjustment | -24.42

## KPI Summary
KPI | Formula | Example | Comment
Avg Energy Intensity (kWh/km) | Fleet total kWh ÷ total km | 1.3475 | Regional average
Avg Charger Efficiency (%) | Delivered ÷ Grid draw | 92 | Accounts for 8% loss
Charger Utilization (%) | Active hours ÷ Available hours | 24.17% | Below optimal (target 50–60%)
Fleet Uptime (%) | Active days ÷ Total days | 96 | Good reliability
CO₂ Avoided (kg) | (Diesel baseline × EF) − EV emissions | 8420 | For reporting
Energy Cost (€/kWh) | Weighted avg depot tariff | 0.18 | Tariff input
Cost per km (€) | (Energy × €/kWh) ÷ km | 0.24256 | Compare to diesel baseline

## Data quality and validation log
Stream | Status | Last Sync | Issue | Resolution | Owner
Telematics feed | 🟢 | 2025-10-28 | — | — | IT
Charging data feed | 🟠 | 2025-10-27 | Session timestamp mismatch | Align UTC | OEM
Energy meter | 🟢 | 2025-10-26 | — | — | Facilities
CO₂ framework sync | 🔴 | 2025-10-20 | API error | Awaiting SFC update | Carbon Lead