## Grid_readiness_checklist
Category | Assessment Point | Response Options | Notes/Guidance
1.0 Site Basics | 1.1 Is site address and location confirmed? | Yes / No | Required for utility coordination.
| 1.2 Is this a leased or owned property? | Leased / Owned | Impacts permissions, metering setup, and cost recovery.
| 1.3 Has landlord (if applicable) approved EV infrastructure upgrades? | Yes / No / In Progress | Needed for trenching, metering, or grid upgrades on leased sites.
2.0 Power Supply | 2.1 What is the existing available power (kW)? | Numeric entry | Requested from utility or facility manager/engineer.
| 2.2 What is the current panel/service capacity (Amps, Voltage)? | Numeric entry | e.g., 800A / 480V 3-phase.
| 2.3 Are there significant existing loads (HVAC, conveyors, robotics, etc.)? | Yes / No | Helps assess available capacity for EVSE.
3.0 Utility Coordination | 3.1 Have you contacted the utility provider? | Yes / No / Scheduled | Early contact improves planning timelines.
| 3.2 Has a utility load study or grid feasibility check been completed? | Yes / No / Pending | Confirms available capacity and upgrade scope.
| 3.3 Estimated lead time for utility upgrade (if required)? | <3 months / 3–6 months / 6+ months | Used to assess deployment timeline risk.
| 3.4 Who is your utility point of contact? | Name / Email / Phone | Useful for fast-track coordination and escalation.
4.0 Charging Needs | 4.1 Estimated peak power demand (kW) for EV fleet? | Calculated field | Based on fleet size × charger type × simultaneity.
| 4.2 Preferred charger type and quantity? | e.g., 4×150kW DCFC | Used to validate grid requirements and layout feasibility.
| 4.3 Are load management strategies (smart charging, staggered schedules) planned? | Yes / No / TBD | Reduces grid strain and demand charges.
| 4.4 Is renewable energy on-site or under evaluation? | Yes / No / Under Review | Can supplement EV loads or reduce carbon footprint.
5.0 Permitting & Works | 5.1 Are local permitting or zoning approvals required? | Yes / No / Unknown | Confirm with local municipality or CPO.
| 5.2 Will trenching or major construction be required? | Yes / No / Unknown | Affects cost, lead time, and disruption risk.
6.0 Load Forecasting | 6.1 Will site charging demand grow in the next 1–5 years? | Yes / No / Unsure | Important for utilities to size transformers and upgrades properly.
7.0 Backup Power | 7.1 Will backup generation or battery storage be installed? | Yes / No / TBD | Enables resilience and peak shaving if grid limits are tight.
8.0 Transformer Ownership | 8.1 Is the onsite transformer utility-owned or customer-owned? | Utility / Customer | Impacts who pays for upgrades and scheduling lead time.
9.0 Tariff Impact | 9.1 Will demand charges apply under your current energy tariff? | Yes / No / Unknown | May significantly affect operating costs at scale.
| 9.2 Have you reviewed available EV-specific or time-of-use (TOU) tariffs? | Yes / No | Utility tariffs optimized for EV charging can lower energy costs.
10.0 Electrical Drawings | 10.1 Is a current single-line diagram (SLD) available for review? | Yes / No / Requested | Required for engineering review by utility or vendor.
11.0 Metering | 11.1 Will chargers be sub-metered or separately metered? | Sub-metered / Separate meter / TBD | Affects reporting, billing, and potential incentive eligibility.
12.0 Vendor Coordination | 12.1 Have OEMs/CPOs validated charger and load specifications based on this site plan? | Yes / No / Pending | Ensures design feasibility and aligns with grid capacity from early on.